This test resulted in false positives for all services 1 & 2 and a true negative for service 3. Services 1 & 2 detected a fall at timestamp 108056962327. Service three never detected a potential fall because its UFT was never exceeded.